

Comment:

Failed to track samples once loaded into SEM, hence ‘unknown’. Therefore, sample could be either of ‘good quality’ MXene from 01/07/19 synthesis, or sediment.

Linescan is an attempt at confirming larger particles are unetched MAX phase (with aluminium presence), which is somewhat demonstrated but only qualitatively, and majority of signal is from the substrate.

7/12/2019 12:48:29 PM

Unknown MXene